## Slide 1
IBNET: Performance Benchmarking Gateway
+ Application to Energy Efficiency
Alexander Danilenko, Manuel Mariño
and Feng Liu
Water and Sanitation Program, World Bank
Nadi, Fiji
Pacific – Regional Water and Energy Seminar
Exchange of Best Prectices

## Slide 2: Growing Demand for Water Sector Information
Accurate and unbiased information about the sector is a key for the sector development, however:
  Information is fragmented
  No standard for data collection
  Common problem of data collection: misbalance between technical, financial and quality information
  Little comparison with international water providers, or such comparisons are artificial
  Lack of systematized best practices information
  New challenges: Financial crisis, climate change, accelerated urbanization

## Slide 3: IBNET Tools and Instruments
WWW.IB-NET.ORG
Five major elements:
  IBNET concept and objectives with FAQ section
  IBNET toolkit
  Indicator database with search mechanism + interactive maps
  Additional tools and resources
  Tariff database
  Information sharing including links to benchmarking organizations worldwide
Available in English, French, Russian and Spanish

## Slide 4
IBNET Development Progress and Achievements
  4500 utilities (as of May. 2014)
  75% > 4 years time series
  Constantly updated from 1996
  >1,000,000 visits since June 2008 from 206 countries and territories
  De-facto performance assessment standard for the sector
  Widely used for performance assessment by development agencies, banks
  Data collection standard in a few countries

## Slide 5
IBNET Toolkit: Foundation of Success
  IWA based data collection standard and indicators
  No changes since IBNET inception in data allowed to collect comparable data from more than 110 countries
  Built-in cross-checks
  Aggregation principles
  Clear guide for the data collection and indicators calculation
  Limited information beyond utilities operations

## Slide 6: Data Collection Partners
Water Utilities Associations
  Research institutes and academia working with utilities
  Utility-based consulting firms
  Direct submission by utilities
National Regulatory Systems
Design Institutes
Local Consultants
International Consultants
Sustainability of
Information
and data collection

## Slide 7: Quality of Data Assessment
Data quality score | Data quality definition | Reliability rate
0 | No data available | 0%
1 | Based on reliable records, procedures, investigations or analyses, that are properly documented and recognised as the best available. | 100%
2 | Generally as in Score 1, but with minor shortcomings, e.g. some documentation is missing, the assessment is old, or some reliance on unconfirmed reports or extrapolation is made. | 80%
3 | Extrapolation from a limited sample for which band 1 or 2 information is available. | 70%
4 | Based on the best estimates of Utility staff, without measurement or documented evidence. | 50%

## Slide 8: Data Quality Accreditation Tool
Comparison of IBNET definition and the country definition
Rate
Grouping of the categories
Accreditation by categories
Overall Data Quality Accreditation

## Slide 9: Energy Efficiency in World Bank Urban Water and Sanitation Operations
FY2000-2010 urban water and sanitation lending portfolio
178 projects
US$16.1 billion commitments
19 projects had explicitly identified EE as a KPI and 15 of them were in the ECA region
Main EE interventions found in WB water and sanitation operations
Investments:
Pump station rehabilitation
Network rehabilitation
Leak detection and repair
Pressure management
Gravity-fed supply
Technical assistance:
Demand-side management
Utility planning
Delivery models:
Direct lending to utilities
Municipal development funds
Public-private partnerships

## Slide 10: Some Recent World Bank Projects Worth Noting
Pilot output-based financing for EE improvements at WWUs in Mexico
  A US$25 million TA loan (PATME) from 2005 to 2010. A set of performance indicators (including EE) were developed and applied to 80 utilities
  A US100 million investment loan (PROME) followed . A $5 million pilot for investments linked to results of electricity savings, water savings, and billi
Develop comprehensive energy management strategy and implementation plan at Uruguay’s national WWU
  Part of an on-going $60 million investment loan to OSE (2012-2017): OSE Response to Climate Change, includes asset management and EE actions
Embed energy management best practices in water utility operational manual in India
  Part of a large investment operation under preparation

## Slide 11: Urban Water Supply and Sanitation Global Context and Trends
Non-revenue water, energy cost in opex, and opex recovery
Chart: GNI/person US$
| 3950 | 6000 | 1300 | 576 | 2500 | 750 | 1020 | 4700 | 3200 | 400 | 380 | 5500 | 1870 | 2020 | 10000 | 1200 | 8750 | 1134 | 1140 | 3000 | 520 | 400 | 5400 | 7000 | 1000 | 850 | 430 | 700 | 4400 | 1200 | 1170 | 7000 | 3150 | 5780 | 670 | 4000 | 1050 | 2580 | 400 | 5000 | 350 | 1900 | 520 | 6070 | 650
NRW | 70 | 31 | 84 | 35 | 18 | 28 | 35 | 39 | 55 | 24 | 6 | 33 | 21 | 44 | 20 | 43 | 32 | 41 | 30 | 32 | 49 | 70 | 34 | 28 | 42 | 40 | 50 | 40 | 39 | 44 | 22 | 18 | 45 | 20 | 19 | 30 | 34 | 40 | 45 | 59 | 36 | 44 | 29 | 62 | 32
Eletricity Exp/Op Exp | 26 | 12 | 21 | 39 | 24 | 19 | 23 | 25 | 24 | 13 | 47 | 6 | 14 | 29 | 6 | 18 | 11 | 38 | 17 | 21 | 12 | 36 | 6 | 22 | 23 | 40 | 30 | 44 | 17 | 12 | 7 | 15 | 13 | 24 | 2 | 25 | 14 | 25 | 41 | 18 | 36 | 27 | 41 | 35
Op Exp Coverage | 62 | 149 | 105 | 136 | 116 | 197 | 156 | 149 | 132 | 89 | 236 | 140 | 87 | 151 | 130 | 98 | 109 | 55 | 139 | 87 | 191 | 103 | 115 | 116 | 104 | 111 | 142 | 62 | 144 | 215 | 131 | 116 | 118 | 118 | 128 | 89 | 100 | 105 | 88 | 125 | 134 | 91 | 75 | 95 | 188
Energy and cost drivers
40% more people in cities by 2030 versus 2010
Huge needs for modern wastewater treatment (Capacity increase in China: 16 to 122 million m3/d, 1999-2009)
More stringent health and environmental regulations and enforcement
World oil prices (real) doubled from 1990 to 2010 and the rise is likely to continue in the next 20 years
Freshwater-short coastal areas are increasingly looking into desalination as an alternative
IBNET Data
45 countries
Mid/late 2000s
Cambodia

## Slide 12: Cost Structure and Incentives
Cost Structure and Incentives of Water Utilities
Local nature of water services
Incentives behind the cost reduction
Significant upfront costs with limited guarantees
Chart: 
Energy consumption (%)
and water tariffs (US$/m3), 2009
Source, IBNET

## Slide 13: Financially Viable Energy-Saving Opportunities — Empirical findings from industrialized countries
Pumps and pumping (common potential range: 5 to 30%):
  5% to 10% by improving existing pumps,
  3% to 7% through improvement to new pumping technology, and
  Up to 30% possible through maintenance improvement and closer matching of pumps to their duties (such as using VSDs)
Aerobic sewage treatment (up to 50%):
  Up to 50% possible on some aerobic wastewater systems by aligning control parameters with the discharge requirements, and
  Up to 25% in activated sludge process wastewater plant,
Other opportunities:
  Up to 20% from drinking water processes, but energy use in this is low
  Up to 15% improvement in building services, and
  Up to 15% of the electricity use in activated-sludge wastewater treatment can be generated using biogas from anaerobic sludge digestion
Source: WERF, 2010, Energy Efficiency in the Water Industry: A Compendium of Best Practices and Case Studies

## Slide 14: Financially Viable Energy-Saving Opportunities —Empirical findings from developing countries
Energy audits at 12 WWUs in Latin America and the Caribbean revealed
  9 to 39 percent energy-saving potential at utility level and average payback period of 1.5 years
  main EE problems with pumps and motors due to inadequate pump specifications, change in operating conditions, and a lack of regular and structured maintenance
An energy assessment study of 5 WWUs in China identified
  main EE problems in pump stations and aeration systems
  multiple measures with 10 to 25 percent energy savings potential and payback periods of 1.7 to 5.9 years
Energy audits at 6 water utilities in Moldova revealed that
  main EE problems linked to networks design/operation and pumps
  6 to 55 percent energy-saving potential at utility level
Source: ESMAP, 2012, A Primer on Energy Efficiency for Municipal Water and Wastewater Utilities

## Slide 15: Non-revenue water and energy efficiency
NRW is commonly above 25% of water produced and remains a complex and difficult issue
A low NRW is often a good indication of well-managed utility and efficient operation
Physical losses usually account for about 75% of NRW
Reducing physical losses reduces/postpones capital investments for new supply and lowers electricity bill

## Slide 16: What Are the Challenges?
Main barriers to improving EE in WWUs in developing countries
Absence of reliable data
Utilities cost and revenue structure
Governance
  EE initiatives cannot be sustained if financial performance is not valued and rewarded
Know-how
  Assistance needed to increase utility-level capacity to identify and undertake energy optimization
Financing
  WWU/city creditworthiness
  Small projects
  Underdeveloped EE market
Can you benchmark energy performance of water utilities?
Chart: Utility size indicated by water billed (m3/day)
| 213476.23150684868 | 947261.30410958896 | 174101.06849314942 | 295556.82739726029 | 509945.33972602739 | 167606.73150684868 | 232491.32602739599 | 139764.90958904068
Egypt | 0.26198 | 0.16312 | 0.70842 | 0.21894 | 0.17428 | 0.31466 | 0.10184 | 0.48372
Brazil | 0.8753 | 0.79788 | 0.71891 | 1.243 | 1.2671 | 1.9364 | 0.78943 | 0.84179 | 1.021 | 1.177
Russia | 0.25897 | 0.36901 | 0.49918 | 0.34026 | 0.61899 | 0.45233 | 1.1663 | 1.3963 | 0.74542 | 0.19394
India | 1.4074 | 1.1697 | 1.4072 | 0.27622 | 1.9126 | 0.34633 | 0.48307 | 0.50908 | 0.28433 | 0.22921
China | 0.29841 | 0.46835 | 0.40631 | 0.25833 | 0.46393 | 0.3656 | 0.64166 | 0.51538

## Slide 17: EE Financing Innovations for W&WWUs
Energy Savings Performance Contract (ESPC)
City of Emfuleni, South Africa
Pre project condition: 80% distribution losses due to leaks
Proposed intervention: advanced pressure management
Barriers: utility lacked technical expertise and funding
Solution: shared savings ESPC could help address both issues
What happened:
an external technical advisor was engaged to help the utility prepare and implement the project
A local engineering consulting firm WRP won the Build- Own-Operate-Transfer contract (5 years)
WRP obtained project financing from the Standard Bank of South Africa.
For the 5-year contract period: 20% of verified savings to WRP and 80% to the utility. The project has 20-years life
The results:
7-8 million m3/yr water savings and 14,250 MWh/yr electricity savings, worth a total of US$3.8 million/yr
WRP recovered its investment in one year
Source http://www.esmap.org/esmap/node/231.
Carbon Financing
State of Karnataka, India
Objective: reduce the energy required for bulk water service delivery from 8 pumping schemes in six municipalities
Expected savings: 23.7 million kWhs per annum, 21,333 CO2te per annum.
Measures:
  installing more energy efficient pumps, including the correct size of pumps or larger and more energy efficient pumps to respond to higher water demand;
  decommissioning old multi-pumps; and
  introducing improved metering and monitoring and other practices.
The CDM project adopted an approved small-scale methodology—demand-side EE activities for specific technologies—and modified it to enable pumping system level monitoring.
Lesson: it was a major challenge to collect the baseline water and electricity data required to calculate greenhouse gas emissions from the project.
Source: ESMAP, 2012, A Primer on Energy Efficiency for Municipal Water and Wastewater Utilities

## Slide 18: How do you do EE in a WWU?
Knowing your issues and objectives
Reducing power demand and energy consumption
  reduction of kW and kWhs
Managing system charges for peak demand and inefficiency
  reduction of electricity bills but little or no energy savings
Managing volatile or high energy cost
  long-term hedging through alternative supply arrangements
Have a plan and start simple

## Slide 19
WeW

## Slide 20
We are ready to work with all partners
WWW.IB-NET.ORG WWW.WSP.ORG