EUWI – EECCA Component

Country Situation and Priorities – Armenia

Prepared by the Technical Secretariat

October 2005

EUWI – EECCA Technical Secretariat

Country Situation and Priorities : Armenia

# EUWI Objectives: Current Situation

Water Supply and Sanitation

## Objective 1: Improve the institutional and regulatory framework

Action 1.1 Decentralise administrative responsibility from national level to municipal level.

Action 1.2 Provide institutional autonomy to the municipal water authorities

Action 1.3 Commercialise the autonomous utilities as corporations

Action 1.4 Introduce a formal regulatory structure

The water supply and sanitation services sector has been considerably restructured, supported by a legal framework that has largely separated the management, regulatory and operation and maintenance functions of water services for municipal water supply and wastewater, irrigation, and hydropower. The new Water Code (2002) retains the ownership of all water sources and water systems of state significance but sets out several allowable models for transfer of management to the private sector, including trust management, concession or creation of a commercial organisation or lease. The Code is a framework law that sets overall objectives and main directions, leaving detailed regulation to other legislation. Although the basis for reform and regulation is contained within the Water Code, there is still considerable work to be done to adjust and add to legislation to provide a comprehensive framework for the sector. Reform of the water sector will also require further changes to the administrative approach and some re-definition of roles between the private and public sectors.

There are two state-owned enterprises that provide water and sanitation services to 78% of the population:  Closed Joint Stock Company Yerevanskiy Vodokanal (CJSCYV) serving about 1 million inhabitants in the capital city and its surrounding area (33% of the national population) and CJSC ArmVodokanal (CJSCAV) serving 37 cities and 4280 villages totalling about 610 000 inhabitants.

Three closed joint stock companies have been formed to provide water supply services in the remainder of the cities and small towns in 3 regions: Lori, Shirak, and Armavir ( CJSC Nor Akung WSC). CJSC Shirak-Vodokanal serves 37 settlements with population of 186 000 inhabitants and CJSC Lori-Vodokanal serves 17 settlements with population of 154 000 inhabitants. The companies have been formed with the purpose of decentralising responsibility for water services. 51% of the company’s shares are owned by the state and the remainder are owned by the municipalities served. These companies have been formed with assistance from KfW. The CJSC Nor Akunq has already been operating successfully for 4 years, serving 12 cities and villages with a total population of 100,000 in Armavir Marz. The other 2 companies are just in the process of being established. Lessons learnt from budgetary problems suffered by Nor Akung will be used to improve the viability of the 2 new companies.

State support to these new ventures is being provided by forgiving debt, but there will also be no further subsidies.

The State Committee of Water Resources (SCWR) was created in February 2001 to unify the distributed responsibility for water services. The SCWR has a dual role a) as the supervisory body for all water management and b) as the owner of two largest water supply and wastewater companies: CJSCYV and CJSCAV. CJSCYV has been managed for 5 years by an international operator, with SCWR continuing to manage the government’s share. With the assistance of a new World Bank loan, tenders are being invited for leasing operation of CJSCYV. Proceeds of the loan will be used to further improve the infrastructure and the lessee will also be expected to invest in infrastructure to improve operating efficiency but the tender includes bidding on tariffs. SCWC’s role after signature of the lease will be that of an asset holding company. A 4-year management contract was signed for support of CJSCAV in 2004.

The Commission on Public Services Regulation (CPSR) was established in December 2003 to provide a regulatory role in the management of these water service companies, including tariff setting. The role and modus operandi of the CPSR need to be further defined and developed through additional legislation.

According to the law on local self-government, community administrations of small communities and villages are responsible for drinking water and wastewater services within their own geographic boundaries. A large number of urban and semi-urban communities and villages have delegated operational management of the services to the two public operators CJSCYV and AWSW but the 3 joint stock water service companies have been unable to take on village supplies because to do so would upset their financial balances because unit costs of providing services to smaller communities are higher. Four cities and about 600 villages, totalling about 0.6 million inhabitants, thus directly operate their own water systems, though CJSCAV supplies bulk water to about 100 of these villages.

## Objective 2: Ensure financial viability of utilities

Action 2.1 Adopt a financing plan to introduce full cost recovery

Action 2.2 Eliminate subsidies between industrial consumers and household consumers

Action 2.3 Adjust billing procedures so that water tariffs are based on actual water consumption

Action 2.4 Raise collection ratios to acceptable levels

Action 2.5 Use social tariffs for the poor

Self-financing of irrigation and water supply and sanitation services is a stated priority for the Government. Currently the 5 water and sanitation companies collect fees that cover operation and maintenance costs but they have not yet been able to contribute to investment in rehabilitation or construction of new infrastructure. OECD is providing assistance in the development of financing plans and the new lease agreement (when signed) for Yerevan will provide a step towards full recovery of investment as well as operation and maintenance costs.

Improved management of the water utilities has included extension of metering to apartment blocks and some individual households. In 1998, more than 40% of dues was actually collected. In Yerevan in 1984 the collection had reached 21% and CJSCYV collection rate in Yerevan is now close to 80%. Other utility companies are increasing their metering but are far behind CJSCYV. Metering has been financially supported by the World Bank, USAID and KfW.

Tariffs have been raised to up to 140% of previous levels but they are now reaching the limit readily acceptable to consumers. Billing practices have also been improved with the assistance of USAID and KfW.

All investments have been made through external loans guaranteed by the government, effectively a subsidy to the consumer tariffs.

## Objective 3: Investment in water supply, sanitation and rehabilitation

Action 3.1 Identify the investment and rehabilitation needs through studies

Action 3.2 Prioritise building blocks

Action 3.3 Prepare projects

Action 3.4 Plan and obtain financing

Action 3.5 Implement

Investment has to date been led by donor projects that have simultaneously reformed the water service institutions. Such investment has comprised only around 10% of the total investment needed for repair or renewal of the water supply and sanitation systems. Full costs for rehabilitating Yerevan water supply are estimated to be US$ 400 million.

Under the World Bank’s “Municipal Water and Wastewater Project” (2004) apart from management support, investments are being made in restructuring the CJSCAV (including redundancy payments and training), metering, laboratories, and rehabilitation works to improve operating efficiency.

Water supply to the 600 small communities that do not come under one of the 5 companies has received virtually no recent investment. Wastewater treatment has also received no investment, even within the 5 companies.

Discussions are ongoing with JICA regarding assistance to the rural water supply sector.

SWECO have financed studies into rehabilitation or renewal of wastewater treatment plants. Costs without biological treatment are estimated to be US$ 24-28 million. Some pilot project plans have also been developed in cooperation with OECD.

Most of the costs of rehabilitation must be paid for by the water and sanitation companies from collected water supply fees. Currently, the process of reviewing tariffs and justifying changes in tariff to meet planned expenditure is ad hoc and needs to be regularised. USAID is planning a new Water Services Improvement Project which would examine the right balance between capital investment, tariffs, subsidies, technology and wastewater quality standards as well as rehabilitate some infrastructure. The World Bank is also preparing a wastewater strategy paper.

## Objective 4: Ensure access of the poor to water services as a human right

The urban poor are currently disadvantaged by being faced with increased tariffs that are unaffordable to them. In the smaller communities, where many of the population are poor, the lack of recent investment and the collapse of water supply systems have resulted in inadequate and often unsanitary water supplies. Upon proven success of the new lease contract for CJSCYV, the Global Partnership for Output-Based Aid (UK) proposes to provide grant funds in the order of $3 to 4 million to subsidise water services fees for the poor. The grant would utilise existing government social support programmes.

## Objective 5: Safeguard public health

As the majority of potable water supplies are from groundwater sources, the quality of the source water is generally good and should not be a hazard to public health. However, varying and low water pressure in the delivery mains has resulted in cross-contamination from leaking sewers. The recent improvements in service in the areas served by the 5 water and sanitation companies have reduced the risk of cross-contamination but further improvements are needed.

Some communities in the rural areas now have to rely on surface water supplies instead of pumped groundwater. These surface supplies sometimes come from irrigation canals and are contaminated, with associated health risks.

River water quality has in general improved, though there is considerable pollution downstream of cities, which have virtually no wastewater treatment facilities. Polluted river water is a health hazard for bathing.

## Objective 6: Protect the environment

Environmental protection is the responsibility of the Ministry for Nature Protection. Water quality standards and allowable minimum flows are defined by law upon the advice of the Ministry of Nature Protection. However, water quality standards are still the strict standards of the USSR and they are not fully complied with.

Monitoring of the biological environment is not currently a regular activity of the Ministry of Nature Protection, but is carried out ad hoc by researchers. While the regular water flow and quality monitoring is restricted by finances it is not appropriate to try to implement a full biological monitoring programme but some experience should be gained in biological monitoring so that it can be introduced as a main tool for environmental monitoring in the future.

Integrated Water Resources Management

## Objective 7: Establish and implement national policies for Integrated Water Resources Management.

Action 7.1  Establish national IWRM policy through:

        - Raising Political Awareness of Water Management Issues

        - Developing National Road Maps for Completing the Adoption of IWRM

Action 7.2  Support the implementation of national IWRM policy through:

        - Identification of national water management priorities;

        - Strengthening the legal and regulatory framework;

        - Institutional capacity building;

        - Strengthening water resources monitoring and assessment;

        - Improving access to information and public participation;

        - Providing the research base for IWRM; and

        - Investment in improvements to water use efficiency

With the assistance of USAID, in 2002 Armenia adopted a new national Water Code which comprehensively establishes government policy for the water sector. The Water Code consolidates the laws governing water resources management and approximates reasonably well with the EU Water Framework Directive. The Water Code declares water resources to be state property, their use and disposal controlled through economic instruments. Water use permits are to be issued and enforced on the basis of monitoring information contained in a National Water Cadastre.

According to the requirements of the Water Code the National Assembly of the Republic of Armenia passed the Law “On Basis of the National Water Policy” which sets objectives and basis for strategic development of water resources use and their preservation on the basis of which water use principles should be determined. Document contains provisions on policy implemented in the sector of water relations including provisions on development of strategic basin plans for the next 10-15 years and gives assessment of the quality and quantity of distributed water, envisages current and future demand from population and other users to solve problems associated with effective use of resources.

The Water Code established the Water Resources Management Agency (WRMA) within the Ministry of Nature Protection (MNP) to be responsible for overall water resource management. The Code adopts basin-oriented principles of water resources management by establishing river basin organisations and incorporating the need for public awareness and participation. Armenia’s 14 main river basins have now been consolidated under five basin Basin Management Organizations (BMOs), which are responsible for integrated water resources planning and management. The BMOs are subordinate units of the WRMA. The Ministry of Nature Protection also includes the hydrometric service, which is responsible for monitoring of surface and groundwater and for the environmental laboratories responsible for water quality testing. Basin Councils have been established within each of the 5 river basins. These Basin Councils provide the cross-sectoral overview of the work of the BMOs and they include representatives of all relevant sectors, including health, agriculture, and environment.

The Water Code establishes the National Water Council (NWC) as the highest advisory body in matters related to water use and protection. The Prime Minister heads the NWC and its members include the Ministers of Finance, Nature Protection, and Agriculture, the head of the SCWR, and other high level representatives of government agencies.

A National Water Program is under preparation to provide the strategy and time-phased action program for complying with the Water Code. Assistance in developing the programme is being provided by the USAID project “Program for Institutional and Regulatory Strengthening of Water Management in Armenia”.

Despite the integration of water management under the WRMA and BMOs, there are still some aspects of water management that are not controlled by the Ministry of Nature Protection: monitoring of water supply abstractions and control of reservoirs remain the responsibility of the SCWR; and routine monitoring of effluents from industry is the responsibility of each enterprise. Regular exchange of information between these organisations is thus necessary to obtain a full picture of the water management situation.

Good integrated water management depends on the capacity of the BMOs to manage, requiring access to accurate monitoring information and river flow forecasts and the skills and tools necessary to carry out the required analysis. As the BMOs are in their infancy, these essential requirements are not yet fully developed. Training of BMO staff is beginning with a visit to Romania (sponsored by USAID).

Decree of the Government of the RA determined water cadastre procedures and respective state body issued resolution which envisaged conditions for introduction and use of database. 46 000 USD were allocated in the state budget of the Republic of Armenia for provision of technical equipment for the state water cadastre. Support was also provided by USAID.

## Objective 8: Develop the inter-state cooperative structures for river/lake basin management.

Action 8.1  Provide the foundation for interstate cooperation through:

        - Improving information management and sharing;

        - Establishing a joint public information and participation policy;

        - Joint analysis of water management issues to develop basin plans.

Action 8.2  Establish joint management bodies through:

        - Inter-state agreements; and

        - Joint water management bodies (e.g. Commission).

Armenia has an agreement with Turkey on the use of the Araks and Akhouryan Rivers. The treaty shares the use of both transboundary rivers in equal proportions. Another agreement with Turkey describes the joint exploitation of a reservoir in the Akhouryan River. An agreement also exists between Armenia and Iran on the utilization of the joint border reach of the Araks River for irrigation, power generation and municipal use. The Treaty shares the waters of the joint border reach in equal proportions (50%) between Iran and Armenia. Whilst these treaties were concluded by the USSR, Armenia considers itself to be a successor state of the USSR and thus to be bound by them.

The new Water Code recognizes the importance of transboundary cooperation and empowers the Commission on Transboundary Water Resources (CTWR) to address transboundary issues with similar organizations in neighbouring countries. Subsidiary Commissions have also been established under the CTWR for 2 border regions: Akhurian and Armavir but these commissions have not yet been able to enter into discussion with the Georgian and Azerbaijani counterpart authorities.

The basic requirements for the implementation of transboundary treaties are proper monitoring of water flows and water quality and exchange and verification of information. These requirements have not yet been met, despite the various donor supported transboundary projects, which mostly have been supporting workshops and legal, policy and planning activities. Information exchange through the internet established by the USAID project “Sustainable Water Management in the South Caucasus” has been discontinued. The resulting lack of verified common information on water quantity and water quality leads to mistrust and hampers productive discussion. The political relationships with the republic of Azerbaijan considerably hamper discussion of joint water management with that country.

# National Policies regarding Further Development of the Water Sector

## Water Supply and Sanitation

The 3 joint-stock water and sanitation companies provide a pilot experience on which the continued commercialisation of water services will be based. On completion of the management contract for CJSCAV, it is planned that the company will also become partly privatised and autonomous. Assets are expected to remain in state ownership, as is the case with the 3 existing joint-stock companies. The situation regarding CJSCYV will depend on the response to the lessee tender and arrangements under that contract.

Considerable investment is needed in the water service infrastructure. The financing plan that is being prepared with the assistance of OECD will set out the broad outlines of an investment strategy and the necessary further changes in tariffs to provide the required investments.

Private foreign investment will be sought, though appropriate arrangements to attract such investment must first be in place as it will be difficult to attract investors into companies that are majority owned by government and where the infrastructure rehabilitated remains under state ownership.

Appropriate solutions to the rural water and sanitation sector will be sought with the assistance of a JICA project.

## Integrated Water Resources Management

The basis for IWRM has been created by the Water Code and by the establishment of the national (WRMA) and basin (BMO) institutions. The next step will be the preparation of the National Water Programme, which is already under preparation with USAID assistance. A further priority is to strengthen these new institutions to ensure that they are able to fully perform their allocated roles.

The structures required for inter-state cooperation on river management have been established within Armenia and the government is recognising and complying with agreements on the joint use of shared rivers. The government is thus ready and willing to extend the scope of cooperation with other riparian states.

# Short-Term Priorities

## Improvement of Town Water Supply

The reforms made so far, including commercialisation of water utilities, metering and increased tariffs and collection rates have gone a considerable way to solving Armenia’s potable water problems, and service levels are now already much improved. However, there is a need to invest more in the rehabilitation of ageing water treatment and distribution infrastructure. A workable financial plan is urgently needed. Some assistance is being provided by OECD but further assistance will be required in this field.

A considerable portion of the costs of rehabilitation works must be raised by the water and sanitation companies themselves through the water fees. The financing plan must be used together with detailed investment justifications and estimates to provide fully justified arguments to the public regulator for any increases in tariff. Assistance is required in preparing such justification. Assistance is also required in introducing the public regulator to the regular review procedures carried out by regulators of privatised public services in the EU and elsewhere.

## Reduction of Contamination by Municipal Wastewater

Although there is virtually no wastewater treatment in Armenia at present, and effluents are discharged directly to the rivers, the self-cleansing capacities of the rivers in general keep river water quality reasonable, except for immediately downstream of the effluent discharge points. Yerevan city is the largest and thus the worst polluter and the first priority for investment.

## Improvement of Rural Water Supply and Sanitation

Improved potable water supply to the 600 communities currently not served by a water and sanitation company is of a higher priority than sanitation. New solutions may be necessary for some communities, including use of a local water source that does not fully meet the strict USSR water quality standards, to avoid long delivery pipelines from better quality sources. New solutions might also include self-help village organisations to construct and maintain local supply systems. Discussions are on-going with JICA over this issue.

## National Coordination of River Management

The first priority is to strengthen the new water management organisations by providing the training and tools required for them to perform their duties. These will include:

- An inventory of water resources, in turn requiring accumulation and analysis of data on river flows, abstractions and return flows. The inventory should be on a 10-day basis and include analysis of inter-annual variations;

- A cadastre of water users, including information on water abstractions, return effluents and the effect on quality of the effluents;

- River basin management plans;

- Decision support systems for river basin management;

- Analysis of the institutional roles and practical operation of the organizations, if necessary requiring modifications to the Water Code, especially regarding responsibilities for timely provision of information between one institution and another;

- Staff training; and

- Sufficient hydrometric, laboratory and computer equipment.

Additionally, public participation in water management is currently poorly developed. Formal procedures are needed to inform and involve the public in major water management decisions.

## Improved Cooperation on Transboundary River Management

The UNDP/GEF/SIDA projects to improve transboundary cooperation on the Kura/Araks River will eventually provide a framework for agreement on joint river basin management. However, this will take time, and in the meantime there is a need to:

- increase cooperation by re-instating the exchange of information between the 3 lower riparian countries of the Kura/Araks; and

- explore ways in which the validity of information on river flows and water quality can be assured.

# Building Blocks

## Blocks Already Submitted

Sustainable management of transboundary water resources:

Strengthening of activities implementing by permanent inter-state committees.

To establish the rules of use and protection of transboundary water resources and confirm them with inter-state agreements and/or treaties between the Republic of Armenia and neighboring riparians. To implement these agreements through joint committees.

Water as commercial commodity

Strengthening legal and regulatory framework and its implementation. Development and introduction of economic mechanisms for water resources management. (largely already completed but some additional assistance needed)

Protection of water ecosystem

Development of measures for prevention, control and reduction of water-related diseases

# Protection of Lake Sevan as drinking water source

Solution of problems of wastewater treatment in the cities of Martuni, Vardenis, Gavar and Dzermuk

# Law on drinking water

Development of the law on drinking water. (partly already completed)

# Prevention of land salinization

Development of a programme according to which underground water level will be decreased by drainage-collector networks. Early spring and late autumn waters shall be provided for free of charge to water users for the sprinkling of saline lands, in accordance with the water use permits issued under the procedures established by the Water Code of Armenia.

# Integrated qualitative assessment of water resources (Regional)

Coverage of programmes for water resources monitoring within EECCA with an interactive information network. Implementation of an integrated qualitative assessment of water resources of EECCA based on the monitoring data and developed methodology.

Preparation of a map of water resources quality based on the data obtained (using GIS technologies) which would be accessible via Internet.

Strengthening of state water cadastre institution. It is supposed to develop and provide database, develop and introduce appropriate applied programs, and provide training for the personnel as well.

Harmonization of water sector legislation (Regional)

Strengthening legal and regulatory framework and its implementation

Development of regulatory acts, including quality standards and criteria of a river basin

Regional coordinating advisory group (Regional)

Establishment of national groups for coordinating on-going and planned international water resources management programmes

Basin management of water resources (Regional)

Establishment and strengthening of  basin management agencies. Water Basin Management Bodies shall: a)develop water  management plans,based on the National Water Programme b)ensure water resources protection c)establish extraction quantities and regimes upon the approval of  the Water Resources Management and Protection Body (WRMPB); implement and monitor measurement of  water extraction and water use permits, issued by the WRMPB d) participate in development of water supply marginal quantities and water supply regime.

Transboundary water resources management  (Regional)

Establishment of an inter-state body for coordination of transboundary water resources management.

Strengthening of RA commission on transboundary water resources. It is supposed to provide commission staff with personal accounts, technical and communication devices, and transport.