ANNEX II: TERMS OF REFERENCE

Table of Contents

1.	BACKGROUND INFORMATION	3

1.1.	Beneficiary country	3

1.2.	Contracting Authority	3

1.3.	Relevant country background	3

1.4.	Current state of affairs in the relevant sector	3

1.5.	Related programmes and other donor activities:	5

2.	CONTRACT OBJECTIVES & EXPECTED RESULTS	5

2.1.	Overall objectives	5

2.2.	Specific objectives	5

2.3.	Results to be achieved by the Consultant	5

3.	ASSUMPTIONS & RISKS	6

3.1.	Assumptions underlying the project intervention	6

3.2.	Risks	6

4.	SCOPE OF THE WORK	6

4.1.	General	6

4.2.	Specific activities	8

4.3.	Project management	10

5.	LOGISTICS AND TIMING	11

5.1.	Location	11

5.2.	Commencement date & Period of execution	11

6.	REQUIREMENTS	11

6.1.	Personnel	11

6.2.	Offices	13

6.3.	Facilities and equipment to be provided by the Consultant	13

7.	MONITORING AND EVALUATION	13

7.1.	Definition of indicators	14

7.2.	Special requirements	14

TERMS OF REFERENCE

# BACKGROUND INFORMATION

## Beneficiary country

The Kingdom of Lesotho

## Contracting Authority

The National Authorising Officer

Ministry of Economic Planning

P.O. Box 630 Maseru 100 Lesotho

(tel:++266 22 311100b-fax: ++266 22 310520)

## Relevant country background

The project area covers the Greater city of Maseru, enclosed by the Caledon River to the North and Western borders and the Phuthiatsana River to the south while the eastern border is somewhat defined by the Berea plateau, with 13,250 ha and elevations from 1,490 masl (Caledon River) to 1,890 masl. The main watersheds are defining three natural catchments:

- Area discharging into the Caledon River directly (the whole sewered area),

- Areas discharging into the Phuthiatsana River (southern areas),

- Area discharging into the Maqalika reservoir.

Presently sewered areas and those around the Maqalika reservoir are almost fully developed. The underdeveloped areas in the South are growing fast due to immigration. Most commercial and institutional activities are found at the fully developed areas of the city. Some institutions such as schools and hospitals are found even at remotely located areas, but at a very small scale. The industries are found at Maseru West industrial area estates and Thetsane industrial estates. Equally, very few commercial and institutional activities go on at underdeveloped areas in the town periphery. The other likely place to have industries is Ha Tikoe located far south on the confluence of the Caledon River and the Phuthiatsana River. Textile industries are the main industries in Maseru while other processing industries include the Maluti Mountain breweries and the Flourmills. The hotels and a variety of businesses around town centre are the major commercial activities. Institutions include the military barracks, the prisons, the learning institutions and the hospitals.

## Current state of affairs in the relevant sector

WASA

The Water and Sewerage Authority (WASA) is a semi-autonomous body entrusted by the Government of Lesotho (GoL) through the Ministry of Natural Resources (MNR) to provide water and sewerage services to the gazetted urban centres in Lesotho. At present Maseru and fifteen other centres are gazetted as urban centres and as such WASA has to provide these services to these towns, although in practice services are not yet extended to cover all the centres completely. Most of the peri-urban areas are not (yet) served, and some industrial demand is equally constrained by availability of infrastructure to meet the services required. Water supply outside the urban centres is the responsibility of MNR, Department of Rural Water.

Water Supply

The water treatment works and the raw water intake points are found along the Caledon River. There are three raw water intake points along the Caledon River. The first and second intake points are for the Maqalika reservoir while the third one is the one that delivers raw water directly to the Maseru water treatment works. Of great importance also is the Maqalika reservoir because of its exposure to pollution. Normally, raw water is abstracted directly from the river. During dry seasons, raw water is abstracted from an off-channel reservoir at Maqalika, upstream the water treatment plant, 750 m away from the river.

Water consumption of greater Maseru is 21.8 Ml/d, with a total of about 18,000. water accounts/meters. Industry accounts for 9.1 Ml/d, domestic consumption for 8.3 Ml/d (38%, sewered area 2.6 Ml/d, non-sewered area 5.7 Ml/d), institutional and commercial consumption for 4.4 Ml/d (20%, mainly restricted to the sewered area).

Within the sewered area, the majority of customers are domestic (88%), followed by institutional and commercial (5%) and industrial (1.5%). But water consumption (15.6 Ml/d) is dominated by non-domestic use: 9.1 Ml/d industries and 4.6 ml/d institutional and commercial versus 2.6 Ml/d domestic consumption. There are 77 industrial customers, 293 institutional customers and 262 commercial customers within the sewered area. Commercial and institutional consumers are scattered around town though mostly around the central business centre whilst industrial customers are mainly found at the Maseru west industrial estates and Thetsane industrial estates.

Within the non-sewered areas, there are few commercial activities, institutions include some schools, hospitals, and police camps, but industries are almost non-existent.

Sewage Generation

About 1,740 m³ of domestic wastewater are discharged into the sewage network per day, which means that about 67% of the domestic water consumption within the sewered area (2,587 m³ per day) could be collected by the existing network. Industrial (8,643 m³/d), institutional (3,019 m³/d) and commercial (1,325 m³/d) wastewater amounts to 12,384 m³/d.

Existing Sewage Scheme

Areas that are currently sewered in Maseru include the following:

| - Maseru West including the Maseru West Industrial Estate, - Maseru Town Centre, - Maseru East including the Stadium Area, Malalitoe area up to the College of Education, St Joseph’s High School and Convention Centre, | - Hills View including the Police Training College, - Happy Villa including Ratjomose Barracks, - Thetsane Industrial Estate and surrounding residential area, - New Europa including Old Europa and surrounding area, |
| --- | --- |

With 4,000 domestic and under 1,000 non-domestic sewer connections, covering 32 % of the entire water reticulated area of Maseru.

Within the sewered area, 336 customers are relying on septic or conservancy tanks and about another 1,900 within the non-sewered, but water reticulated area of Greater Maseru. The most common and simpler type of on-site sewage disposal is the pit latrine. Ventilated Improved Pit Latrines (VIPs) since the late 1970’s became increasingly popular. 1,237 customers with septic or conservancy tanks are listed by WASA’s Sanitation Service Unit.

Ratjomose wastewater treatment plant was commissioned in 1980 for a design flow of 5 MI/day, but was in 1992/93 upgraded by an additional pond-scheme to treat 10 Ml/day. The Industrial pond system is meant to provide pre-treatment to the effluent from the manufacturing industries such as the Maluti mountain breweries. The pre-treated effluent ends up at Ratjomose wastewater treatment plant for final treatment. There are five other privately operated treatment works in Maseru urban area at Mohlomi hospital, Lepereng hospital, Mokoanyane barracks, the Agricultural College and the abattoir.

Rehabilitation Measures and Costs

The rehabilitation measures are required to overcome the identified deficiencies of the existing sanitation facilities operated by WASA. The cost for the rehabilitation measures are assigned to the following main items: sewage network, pumping stations, wastewater treatment works, vacuum tankers, enforcement of O&M department and training.

## Related programmes and other donor activities:

During 2001/02, a project is being prepared for financing by the World Bank under a Water Sector Improvement Project (WSIP). This project will include improvements in bulk water supply services to Maseru, generally in accordance with the 1996 Maseru Water Supply Phase III Pre-feasibility Study by Lahmeyer International.  Thus, "water" consulting services might be executed in parallel to the present study. The “wastewater” consultant will have to liase with the “water” consultant in order to co-ordinate the use of same basic design assumptions, water demand forecast, town development planning and identification of town areas with high water consumption etc. Agreed design figures have to be reported as basis of the design of the wastewater project.

# CONTRACT OBJECTIVES & EXPECTED RESULTS

## Overall objectives

The overall objective of the project of which this contract will be a part is as follows:

- The envisaged project is aimed at the development of a mid- and long-term strategy of provision of a modern, environmental friendly system of wastewater collection and treatment within the administrative boundaries of Maseru, the capital of Lesotho

## Specific objectives

The objectives of this contract are as follows:

The rehabilitation measures are required to overcome the identified deficiencies of the existing sanitation facilities operated by WASA. The rehabilitation measures are made up of the following main items: sewage network, pumping stations, wastewater treatment works, tanker services, and enforcement of O&M department.

## Results to be achieved by the Consultant

- Result 1: Commissioning and final handover of the rehabilitated works.

- Result 2: Adequate tanker services to cope with the demand are in place.

- Result 3: The O&M department of WASA has been trained to ensure sustainable maintenance of the schemes.

# ASSUMPTIONS & RISKS

## Assumptions underlying the project intervention

n.a.

## Risks

n.a.

# SCOPE OF THE WORK

## General

### Project description

The rehabilitation measures are required to overcome the identified deficiencies of the existing sanitation facilities operated by WASA. The cost for the rehabilitation measures are assigned to the following main items:

- The sewerage network

- The pumping stations

- The wastewater treatment works

- The vacuum tankers

- The enforcement of the O&M department

a)	Rehabilitation measures in the sewerage network will comprise:

- Removal of bottlenecks by replacement of pipes with larger diameter.

- Removal of blockages and other flow obstructing elements.

- Rehabilitation of 11 Pumping stations:

- PS 1, Pioneer Road

- PS 2, Border post

- PS 3, Flour Mill

- PS 4, Maseru East

- PS 5, Sebaboleng

- PS 6, Central Park

- PS 8, Lake View

- PS 9, Industrial Area

- PS 10, Moshoeshoe II

- PS 11, Maama

- PS 12, Happy Villa

- The wastewater treatment works

At the Ratjomose wastewater treatment each plant unit was inspected in detail. The required rehabilitation measures and replacements have been identified.

- The Sanitation Service Unit

WASA’s Sanitation Service Unit has to be equipped by an adequate number of tankers to overcome at least the suppressed demand. During site inspections numerous critical spots were identified as serious public health hazards.

- The enforcement of the O&M department

The training programme is recommended in order to implement sustainable maintenance of the schemes. A proper database in sense of a complete inventory and documentation of the mechanical and electrical equipment is urgently required. Operation data like running times of pumps, power consumption, maintenance programmes and intervals have to be established. An inventory of spare parts, which have to be kept on stock together with a reasonable projection of future requirements, has also to be implemented. Responsibilities and action plans have to be defined considering especially the involvements of the personnel in charge on site. The enforcement of the link between the management and the technicians on site is another main task of the recommended training programme.

### Geographical area to be covered

The project area covers the Greater city of Maseru, enclosed by the Caledon River to the North and Western borders and the Phuthiatsana River to the south while the eastern border is somewhat defined by the Berea plateau, with 13,250 ha and elevations from 1,490 masl (Caledon River) to 1,890 masl. The main watersheds are defining three

Presently sewered areas and those around the Maqalika reservoir are almost fully developed. The underdeveloped areas in the South are growing fast due to immigration. Most commercial and institutional activities are found at the fully developed areas of the city. Some institutions such as schools and hospitals are found even at remotely located areas, but at a very small scale. The industries are found at the Old industrial area estates and Thetsane industrial estates. Equally, very few commercial and institutional activities go on at underdeveloped areas in the town periphery. The other likely place to have industries is Ha Tikoe located far south on the confluence of the Caledon River and the Phuthiatsana River. Textile industries are the main industries in Maseru while other processing industries include the Maluti Mountain breweries and the Flourmills. The hotels and a variety of businesses around town centre are the major commercial activities. Institutions include the military barracks, the prisons, the learning institutions and the hospitals.

### Target groups

The target group is the customers of the Maseru Wastewater Scheme.

## Specific activities

The respective work and supply contracts for the rehabilitation measures described above will be awarded by the Contacting Authority based on Tender Documents prepared by GKW Consult/WASA in September 2004.

Stage 1 (a):

The consultant shall arrange for the commencement of the contracts and subsequently supervise the construction contract as “Resident Engineer”.

The Resident Engineer is proposed to be present throughout the construction Supervision phase as, to ensure successful implementation of critical design elements.

The Consultant will provide overall site supervision and will undertake quality control of materials and works, and monitor all activities associated with the contract. These activities are further described hereunder.

The Resident Engineer will be assigned full time to supervise and control all activities of the Contractor in connection with the works.

It will be ensured that construction works and materials will be in accordance with the design and specifications and any modification made thereof. These will include checks on lines and levels already established by the Contractors, compliance with safety requirements, registration of progress on all sites and maintenance of records of all materials used in the permanent works and noting and reporting trade, plant and equipment employed or installed in the construction works, weather condition and all such matters relating to the business of supervision of similar nature as will be required in the course of the services to be commented upon. These activities will be collated and compiled on a daily basis for further review and transfer to the PC in the site office.

The stage 2 activities will comprise but will not be limited to:

- Consultant’s reviews of the Contractor's work program & method statement.

- Preparation of procedures for quality control & inspection.

- Checks of the quality of surveys.

- Definition of safety standards.

- Introduce a recording & reporting system.

- Prepare a risk assessment & mitigation plan.

The specific duties of the Resident Engineer will be:

- Liaison with WASA and other Government Departments;

- Liaison with the Consultant’s head office for logistical and engineering matters and backstopping support;

- Review and monitoring of work programme and concepts for project implementation;

- Review of Cash Flow projections prepared by the Contractor

- Establishing accurate records of existing site conditions;

- Preparation of all Reports including Monthly Progress Reports

- Advise all team members, and associated staff on project matters and delegate authority;

- Monitoring and support of project progress, performance delays, difficulties;

- Financial monitoring and analysis, payment certificates, cost projections;

- Coordination the assignments of the experts of the Consultant

- Supervision and co-ordination of the works and services of the Assistant Resident Engineers.

- Organisation of regular site meetings and special meetings as required.

- Preparation of reports during the course of the construction.

- Contract management and monitoring of works for all subcontractor services;

- Method statements for the construction of the works which correspond with the programmes;

- Approve all designs and supporting drawings etc., i.e. civil, structural, process, supported by the Contractor;

- Propose lists of suppliers, manufacturers and sub-contractors;

- Preparation of variation orders;

- Review and recommendations regarding claims and contractual issues;

- Maintain records (historical, quantitative, financial and qualitative) of site activities;

- Verify and approve as-constructed drawings that have been prepared by the Contractor.

- Issuance of the Completion Certificate after successful testing of the plants.

Stage 1 (b):

Assistance to the final handover of the completed works and monitoring of the administration, operation and maintenance procedures including defining plans and activities for regular environmental audit and monitoring during the first three months of operation of the works.

Stage 2:

The consultant shall assign a qualified person as trainer for the O&M department of WASA who should deliver training based on a Training Plan to be prepared by the Consultant and approved by the Contacting Authority and WASA.

For contracts, which include an element of supervision of progress of contractors on other contracts (e.g. works or supplies), the tasks of the supervisor should include a description of the types of control, which he must carry out.  When the supervisor issues a certificate, he must be satisfied that relevant, reliable and sufficient evidence exists that:

- The tasks have been properly performed; and

- The amounts claimed by the contractor(s) have actually and necessarily been incurred in accordance with the requirements of the contract he/she is supervising.

In preparing this section, particular attention should be given to ensuring the sustainability and dissemination of project results. The Consultant must also observe the latest visibility guidelines concerning acknowledgement of EC financing of the project. >

## Project management

### Responsible body

Contracting authority:	The National Authorising Officer

Ministry of Finance and Development Planning

P.O. Box 630 Maseru 100 Lesotho

(tel:++266 22 311100 – fax:++266 22 310281)

Project supervisor:	The Principal Secretary

Ministry of Natural Resources

P.O. Box 772 Maseru 100 Lesotho

(tel:++266 22 322334 – fax:++266 22 310520)

Project supervisor's representative: The Chief Executive

Water and Sewerage Authority

Headquarter Building off Moshoeshoe Road

P.O. Box 426 Maseru 100 Lesotho.

(tel:++266 22 312449 – fax:++266 22 310006)

### Management structure

The Water and Sewerage Authority (WASA) is a semi-autonomous body entrusted by the Government of Lesotho (GoL) through the Ministry of Natural Resources (MNR) to provide water and sewerage services to the gazetted urban centres in Lesotho. At present Maseru and fifteen other centres are gazetted as urban centres and as such WASA has to provide these services to these towns, although in practice services are not yet extended to cover all the centres completely. Most of the peri-urban areas are not (yet) served, and some industrial demand is equally constrained by availability of infrastructure to meet the services required. Water supply outside the urban centres is the responsibility of MNR, Department of Rural Water.

For the management of this project it is planned to establish a Project Management Unit at WASA within the Engineering Department and a Steering Committee composed of representatives from the Ministry of Natural Resources (MNR), Ministry of Economic Planning, Head of Delegation of the European Commission, City Council of Maseru und User Groups

### Facilities to be provided by the Contracting Authority and/or other parties

Where necessary, the Contracting Authority will assist the Consultant in obtaining:

- Entry and exit visas and resident permits for his expatriate staff and their direct dependents;

- Any permits required for his staff to carry out their duties in the country;

- Import and export permits for personnel belongings of his staff

- Import and export permits for equipment, including vehicles, required for the implementation of the services.

On request of the Consultant, the Supervisor will make available for inspection and duplication - the latter at the Consultant’s costs - all relevant reports, documents, maps and data.

# LOGISTICS AND TIMING

## Location

The location of the Project is the City of Maseru in the Kingdom of Lesotho.

## Commencement date & Period of execution

The intended commencement date is <date> and the period of execution of the contract will be 9 months from this date. Please refer to Articles 4 and 5 of the Special Conditions for the actual commencement date and period of execution.

# REQUIREMENTS

## Personnel

### Key experts

All experts who have a crucial role in implementing the contract are referred to as key experts.  The profiles of the key experts for this contract are as follows:

The Project Manager is expected to be supported by other experts as to perform the scope of works as defined in these Terms of reference for each of the distinct study stages. This expertise shall encompass but not necessarily be limited to:

- Civil engineering, particularly in supervision of construction of sewerage schemes and wastewater treatment facilities

- Mechanical and electrical engineering

- Surveying

- Documentation/contracts specialist

- Quantity surveyor

- Land economist/valuer and socio-economist

- Environmentalist

- Fluency in English.

This expertise may be supplied by short-term or medium-term experts for one or more of the stages and the expert(s) so provided could cover one or more disciplines.

It is anticipated that the total man-months input for the supervision of the rehabilitation measures will be of the order of 14 man-months of international, regional and local experts, and 6 man-months for the training of the O&M department of WASA.

Key expert 1: Team Leader

Qualifications and skills:

Civil Engineer with minimum of 8 years of particular experience in the supervision of rehabilitation measures of sewerage schemes in sub-Saharan African countries, computer literate in CAD, Excel, Word etc, fluent in English.

General professional experience:

General managerial experience and team leadership.

Specific professional experience:

Supervision of EU – financed contracts.

Key expert 2: Mechanical Engineer

###### Qualifications and skills

Mechanical Engineer with minimum of 5 years of particular experience in the supervision of rehabilitation measures of sewerage schemes in sub-Saharan African countries, computer literate in CAD, Excel, Word etc, fluent in English.

###### General professional experience

Mechanical equipment of sewerage schemes, pumping of sewerage

###### Specific professional experience

Supervision of EU – financed contracts.

Key expert 3: Electrical Engineer

Qualifications and skills:

Electrical Engineer with minimum of 5 years of particular experience in the supervision of rehabilitation measures of sewerage schemes in sub-Saharan African countries, computer literate in CAD, Excel, Word etc, fluent in English.

General professional experience:

Electrical equipment of pumping stations

Specific professional experience:

Supervision of EU – financed contracts.

Key expert 4: Trainer

Qualifications and skills:

Mechanical/Engineer with minimum of 5 years of particular experience in the training of O&M departments of water and sewerage utilities sub-Saharan African countries, computer literate in CAD, Excel, Word etc, fluent in English.

General professional experience:

Management of technical departments of water and sewerage utilities

Specific professional experience:

Preventive Maintenance for all kind of mechanical equipment and pumping stations.

### Other experts

CV’s for experts other than the key experts are not examined prior to the signature of the contract.  They should not have been included in tenders.

The Consultant shall select and hire other experts as required according to the profiles identified in these Terms of Reference. These profiles must indicate whether they are to be regarded as long-term/short-term, international/local and senior/junior; o that it is clear which fee rate in the budget breakdown will apply to each profile.  For the purposes of this contract, international experts are considered to be those whose permanent residence is outside the beneficiary country while local experts are considered to be those whose permanent residence is in the beneficiary country.

The Consultant should pay attention to the need to ensure the active participation of local professional skills where available, and a suitable mix of international and local staff in the project teams.  All experts must be independent and free from conflicts of interest in the responsibilities accorded to them.

The selection procedures used by the Consultant to select these other experts shall be transparent, and shall be based on pre-defined criteria, including professional qualifications, language skills and work experience. The findings of the selection panel shall be recorded. The selection of experts shall be subject to approval by the Contracting Authority.

Note that civil servants and other staff of the public administration of the beneficiary country cannot be recruited as experts.

### Support staff & backstopping

Backstopping costs are considered to be included in the fee rates.

The costs of support staff must be included in the fee rates of the experts.]

## Offices

Office accommodation of a reasonable standard and of approximately 10 square metres for each expert working on the contract is to be provided by the Consultant.

## Facilities and equipment to be provided by the Consultant

# MONITORING AND EVALUATION

The Consultant shall ensure that experts are adequately supported and equipped.  In particular it shall ensure that there is sufficient administrative, secretarial and interpreting provision to enable experts to concentrate on their primary responsibilities.  It must also transfer funds as necessary to support its activities under the contract and to ensure that its employees are paid regularly and in a timely fashion.

If the Consultant is a consortium, the arrangements should allow for the maximum flexibility in project implementation. Arrangements offering each consortium partner a fixed percentage of the work to be undertaken under the contract should be avoided.

## Definition of indicators

- Optimum use of financial resources.

- Timely execution of contracts.

- Quality of executed work.

## Special requirements

None